## Calc
QSI583 Total Noise at -10°C |  |  |  | Example: A practical impact on Astrophotography
Camera Gain | 0.5 | e-/ADU |  |  | Assuming the brightest areas of a nebulosity have | 3200 | ADUs
ADU Count | 11.1 | counts | <= official value |  | ...that means a signal of | 1600 | e-
Read Noise | 8 | e- |  |  | The noise of that signal (Shot Noise) is | 40 | e-
Thermal Current at °C | 5.55 | e- |  |  | Total Noise | 40.8601 | e-
Thermal Noise | 2.3558 | e-
Total Noise | 8.3397 | e- |  |  | and the dimmest areas are near the sky background of | 450 | ADUs
[5 empty] | ...that means a signal of | 225 | e-
[5 empty] | The noise of that signal (Shot Noise) is | 15 | e-
QSI583 Total Noise at -20°C |  |  |  |  | Total Noise | 17.1625 | e-
Camera Gain | 0.5 | e-/ADU
ADU Count | 5.57 | counts | <= official value
Read Noise | 8 | e-
Thermal Current at °C | 2.785 | e-
Thermal Noise | 1.6688 | e-
Total Noise | 8.1722 | e-
QSI583 Total Noise at -27°C
Camera Gain | 0.5 | e-/ADU
ADU Count | 2.785 | counts | <= estimated value!
Read Noise | 8 | e-
Thermal Current at °C | 1.3925 | e-
Thermal Noise | 1.18 | e-
Total Noise | 8.0866 | e-
This spreadsheet has been created by Panagiotis Xipteras
References: www.qsimaging.com
Note on B1: Panagiotis Xipteras: Input in green Output in red
Note on B5: Panagiotis Xipteras: CCD sensors even of the same type slightly differ in terms of read noise. Bad camera electronics and a high pixel rate (download rate) increase the read noise of the camera+ccd system.
Note on B7: Panagiotis Xipteras: Note that even with a 10 minute exposure (600 sec) at -10C, the mean contribution of thermal current is just 5.55 electrons. Keep in mind that dark current is unwanted signal, not noise. The dark current can be subtracted but the noise from the dark current combines with other sources of noise to determine the total noise in the image. The noise in any signal is the square root of the signal, or in this case, SQRT(5.5) = 2.35 e- RMS.
Note on B8: Panagiotis Xipteras: Total noise without star light on the sensor
Note on B11: Panagiotis Xipteras: Input in green Output in red
Note on B15: Panagiotis Xipteras: CCD sensors even of the same type slightly differ in terms of read noise. Bad camera electronics and a high pixel rate (download rate) increase the read noise of the camera+ccd system.
Note on B17: Panagiotis Xipteras: Note that even with a 10 minute exposure (600 sec) at -10C, the mean contribution of thermal current is just 5.55 electrons. Keep in mind that dark current is unwanted signal, not noise. The dark current can be subtracted but the noise from the dark current combines with other sources of noise to determine the total noise in the image. The noise in any signal is the square root of the signal, or in this case, SQRT(5.5) = 2.35 e- RMS.
Note on B21: Panagiotis Xipteras: Input in green Output in red
Note on B25: Panagiotis Xipteras: CCD sensors even of the same type slightly differ in terms of read noise. Bad camera electronics and a high pixel rate (download rate) increase the read noise of the camera+ccd system.
Note on B27: Panagiotis Xipteras: Note that even with a 10 minute exposure (600 sec) at -10C, the mean contribution of thermal current is just 5.55 electrons. Keep in mind that dark current is unwanted signal, not noise. The dark current can be subtracted but the noise from the dark current combines with other sources of noise to determine the total noise in the image. The noise in any signal is the square root of the signal, or in this case, SQRT(5.5) = 2.35 e- RMS.
Note on C4: Panagiotis Xipteras: Please consult the spreadsheet "Charts" to find out the right value
Note on C14: Panagiotis Xipteras: Please consult the spreadsheet "Charts" to find out the right value
Note on C24: Panagiotis Xipteras: Please consult the spreadsheet "Charts" to find out the right value
Note on E24: Panagiotis Xipteras: This is my estimated value assuming the "Thermal Current" halves every -7°C
Note on G1: Panagiotis Xipteras: Assume the brightest stars are close to saturation. The brightest areas of nebulosity are at 3200 ADUs (1600e-) and the dimmest areas are near the sky background of 450 ADUs (225e-).
Note on I6: Panagiotis Xipteras: Total noise of the brightest areas of a nebulosity on the ccd sensor
Note on J11: Panagiotis Xipteras: Even at these faint signal levels, the shot noise still dominates the total noise in the image, reducing the noise from thermal current to insignificance. (See also www.qsimaging.com)

## Charts
References: www.qsimaging.com